## XXXX
|  | ITEMIZED DESCRIPTION | QUANTITY | UNIT | UNIT COST | TOTAL COST
| 02510 - ROADWAY IMPROVEMENTS | [5 empty] | 10629.7918 | 209012
40579.65
02510-0001 |  | Mass Grade Fill | N/A | CY |  |  | 51209.4418
02510-0002 |  | Mass Grade Cut | N/A | CY
|  | Heights Storm Drain Pond Cut | 8570 | CY
02510-0003 |  | Subgrade Prep for Roadways (5' Behind ROW Ea. Side) | 257986.98 | SQFT
02510-0004 |  | 3" PG 64-22 Asphalt (Pavement Section) | 85550.41 | SQFT
02510-0005 |  | 5" PG 64-22 Asphalt (Pavement Section) | 14918.74 | SQFT
02510-0006 |  | 8" Granular Base Course, Lip to Lip | 85550.41 | SQFT
02510-0007 |  | 10" Granular Base Course, Lip to Lip | 14918.74 | SQFT
02510-0008 |  | #N/A | #N/A | #N/A
02510-0009 |  | 6" Granular Subbase, Lip to Lip | 14918.74 | SQFT
02510-0010 |  | #N/A | #N/A | #N/A
02510-0011 |  | #N/A | #N/A | #N/A
02510-0012 |  | #N/A | #N/A | #N/A
02510-0013 |  | Roadway Over excavation and Import (25% for 18" TBC to TBC) | 1653.34 | CY
02510-0014 |  | 2.5-foot Curb and Gutter with Base Course | 7280.029 | LNFT
02510-0015 |  | 5' wide Sidewalk (5" thick) with Base Course | 6533.908 | LNFT
02510-0016 |  | 7' Wide Sidewalk (5" thick) with Base Course | 504.558 | LNFT
02510-0017 |  | 8' Wide Sidewalk (5" thick) with Base Course | 2834.48 | LNFT
02510-0018 |  | Sidewalk Handicap Ramps W/ Base Course | 33 | EACH
02510-0019 |  | Sidewalk Handicap Ramps Long W/ Base Course | 1 | EACH
02510-0020 |  | Subgrade Prep for Lanes ROW to ROW | 65593.47 | SQFT
02510-0021 |  | Lane 6" Granular Base Course ROW to ROW | 65593.47 | SQFT
02510-0022 |  | Lane 6" 4000 psi Concrete | 52975.3 | SQFT
02510-0023 |  | Lane Drive Approach with Base Course | 10 | EACH
02510-0024 |  | #N/A | #N/A | #N/A
02510-0025 |  | #N/A | #N/A | #N/A
02510-0026 |  | #N/A | #N/A | #N/A
02510-0027 |  | #N/A | #N/A | #N/A
02510-0028 |  | #N/A | #N/A | #N/A
02510-0029 |  | #N/A | #N/A | #N/A
02510-0030 |  | #N/A | #N/A | #N/A
02510-0031 |  | #N/A | #N/A | #N/A
02510-0032 |  | Demo Existing Curb & Gutter | 252 | LNFT
02510-0033 |  | #N/A | #N/A | #N/A
02510-0034 |  | #N/A | #N/A | #N/A
02510-0035 |  | #N/A | #N/A | #N/A
02510-0036 |  | #N/A | #N/A | #N/A
02510-0037 |  | #N/A | #N/A | #N/A
02510-0038 |  | #N/A | #N/A | #N/A
02510-0039 |  | #N/A | #N/A | #N/A
02510-0040 |  | #N/A | #N/A | #N/A
02510-0041 |  | #N/A | #N/A | #N/A
02665 - DOMESTIC WATER SYSTEMS
02665-0001 |  | #N/A | #N/A | #N/A
02665-0002 |  | 8" C-900 Pipe | 3556.194 | LNFT |  |  |  | FIX
02665-0003 |  | #N/A | #N/A | #N/A
02665-0004 |  | #N/A | #N/A | #N/A
02665-0005 |  | #N/A | #N/A | #N/A |  |  |  | FIX
02665-0006 |  | 8" Gate Valves with valve box/cover | 8 | EACH
02665-0007 |  | #N/A | #N/A | #N/A
02665-0008 |  | #N/A | #N/A | #N/A
02665-0009 |  | Fire Hydrant Assembly (Includes Valve & Piping) | 9 | EACH
02665-0010 |  | Fire Hydrant Concrete Pad | 9 | EACH
02665-0011 |  | 8" x 6" Fire Hydrant Tee | 9 | EACH
02665-0012 |  | #N/A | #N/A | #N/A
02665-0013 |  | #N/A | #N/A | #N/A
02665-0014 |  | #N/A | #N/A | #N/A
02665-0015 |  | 22.5° Bend | 6 | EACH
02665-0016 |  | 45° Bend | 1 | EACH
02665-0017 |  | #N/A | #N/A | #N/A
02665-0018 |  | 3/4" Service Connections with 3/4" meters | 88 | EACH
02665-0019 |  | 1" Service Connection with 3/4" meter | 11 | EACH
02665-0020 |  | #N/A | #N/A | #N/A
02665-0021 |  | #N/A | #N/A | #N/A
02665-0022 |  | #N/A | #N/A | #N/A
02665-0023 |  | 8" Tie-ins to existing system | 7 | EACH
02665-0024 |  | #N/A | #N/A | #N/A
02665-0025 |  | #N/A | #N/A | #N/A
02665-0026 |  | 8" Tee | 4 | EACH
02665-0027 |  | #N/A | #N/A | #N/A
02665-0028 |  | #N/A | #N/A | #N/A
02665-0029 |  | #N/A | #N/A | #N/A
02665-0030 |  | #N/A | #N/A | #N/A
02665-0031 |  | #N/A | #N/A | #N/A
02665-0032 |  | #N/A | #N/A | #N/A
02665-0033 |  | #N/A | #N/A | #N/A
02665-0034 |  | #N/A | #N/A | #N/A
02665-0035 |  | #N/A | #N/A | #N/A
02665-0036 |  | #N/A | #N/A | #N/A
02665-0037 |  | #N/A | #N/A | #N/A
02665-0038 |  | #N/A | #N/A | #N/A
02665-0039 |  | #N/A | #N/A | #N/A
02665-0040 |  | #N/A | #N/A | #N/A
02665-0041 |  | #N/A | #N/A | #N/A
02665-0042 |  | #N/A | #N/A | #N/A
02665-0043 |  | #N/A | #N/A | #N/A
02665-0044 |  | #N/A | #N/A | #N/A
02665-0045 |  | #N/A | #N/A | #N/A
02665-0046 |  | #N/A | #N/A | #N/A
02665-0047 |  | #N/A | #N/A | #N/A
02665-0048 |  | #N/A | #N/A | #N/A
02665-0049 |  | #N/A | #N/A | #N/A
02665-0050 |  | #N/A | #N/A | #N/A
02667 - SECONDARY IRRIGATION SYSTEMS
02667-0001 |  | #N/A | #N/A | #N/A
02667-0002 |  | #N/A | #N/A | #N/A
02667-0003 |  | #N/A | #N/A | #N/A
02667-0004 |  | #N/A | #N/A | #N/A
02667-0005 |  | #N/A | #N/A | #N/A
02667-0006 |  | #N/A | #N/A | #N/A
02667-0007 |  | #N/A | #N/A | #N/A
02667-0008 |  | #N/A | #N/A | #N/A
02667-0009 |  | 6" Tee w/ 1.5" Reducer (Tie to XD) | 1 | EACH
02667-0010 |  | #N/A | #N/A | #N/A
02667-0011 |  | #N/A | #N/A | #N/A
02667-0012 |  | #N/A | #N/A | #N/A
02667-0013 |  | 1.5" Meter Irrigation Point of Connection (P.O.C) | 1 | EACH
02667-0014 |  | #N/A | #N/A | #N/A
02667-0015 |  | #N/A | #N/A | #N/A
02721 - STORM DRAINAGE SYSTEMS
02721-0001 |  | 6" HDPE Pipe | 362.639 | LNFT |  |  | #REF! | #REF!
02721-0002 |  | 18" RCP CLIII Pipe | 971.392 | LNFT
02721-0003 |  | 24" RCP CLIII Pipe | 338.908 | LNFT
02721-0004 |  | #N/A | #N/A | #N/A
02721-0005 |  | Catch Basin | 6 | EACH
02721-0006 |  | Combo Box | 4 | EACH
02721-0007 |  | Bubble Up | 2 | EACH
02721-0008 |  | 5' Storm Drain Cleanout | 2 | EACH
02721-0009 |  | #N/A | #N/A | #N/A
02721-0010 |  | Dry Well | 2 | EACH
02721-0011 |  | #N/A | #N/A | #N/A
02721-0012 |  | #N/A | #N/A | #N/A
02721-0013 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02721-0014 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02721-0015 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02721-0016 |  | Tie Pipe to Existing Pipe | 2 | EACH |  |  | #REF! | #REF!
02721-0017 |  | Connect Manhole/Combo Box to Existing Pipe | 1 | EACH |  |  | #REF! | #REF!
02721-0018 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02721-0019 |  | #N/A | #N/A | #N/A
02721-0020 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02721-0021 |  | #N/A | #N/A | #N/A
02721-0022 |  | #N/A | #N/A | #N/A
02721-0023 |  | #N/A | #N/A | #N/A
02721-0024 |  | #N/A | #N/A | #N/A
02721-0025 |  | #N/A | #N/A | #N/A
02722 - SANITARY SEWER SYSTEMS
02722-0001 |  | 8" PVC Sewer Line | 1578.14 | LNFT
02722-0002 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02722-0003 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02722-0004 |  | #N/A | #N/A | #N/A
02722-0005 |  | 4' Manhole | 8 | EACH
02722-0006 |  | 5' Manhole | 2 | EACH |  |  | #REF! | #REF!
02722-0007 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02722-0008 |  | #N/A | #N/A | #N/A
02722-0009 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02722-0010 |  | 4" Service Laterals (Housing Only) | 41 | EACH |  |  | #REF! | #REF!
02722-0011 |  | 4" Service Lateral Trench Import (25% of Trench in Roadway) | 47.91 | CY |  |  | #REF! | #REF!
02722-0012 |  | Abandon Sewer Lateral | 4 | EACH |  |  | #REF! | #REF!
02722-0013 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02722-0014 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02722-0015 |  | #N/A | #N/A | #N/A
02722-0016 |  | Tie to existing | 4 | EACH
02722-0017 |  | #N/A | #N/A | #N/A
02722-0018 |  | Sewer Import Fill (75% on a 5' wide trench) | 3506.98 | CY
02722-0019 |  | #N/A | #N/A | #N/A
02722-0020 |  | #N/A | #N/A | #N/A
02722-0021 |  | #N/A | #N/A | #N/A
02722-0022 |  | #N/A | #N/A | #N/A
02722-0023 |  | #N/A | #N/A | #N/A
02722-0024 |  | #N/A | #N/A | #N/A
02722-0025 |  | #N/A | #N/A | #N/A
02813 - ELEC, SIGNS, STRIPES & EROSION CONTROL
Electrical/Dry Utilities (Estimated)
02813-0001 |  | CAT 4 Lights w/Poles | 7 | EACH
|  | CAT 4 Lights w/ Concrete Poles | 4 | EACH
02813-0002 |  | CAT 3 Lights w/Poles | 1 | EACH
02813-0003 |  | CAT 3 Lights w/ Concrete Poles | 7 | EACH
02813-0004 |  | Conduit Box | 28 | EACH
02813-0005 |  | 2 Gauge Wire (1) | 1181.993 | LNFT
02813-0006 |  | 4 Gauge Wire (1) | 1181.993 | LNFT
02813-0007 |  | 6 Gauge Wire (1) | 21275.882 | LNFT
02813-0008 |  | #N/A | #N/A | #N/A
02813-0009 |  | #N/A | #N/A | #N/A
02813-0010 |  | 2" Conduit - Along Street (1) | 7879.956 | LNFT
Joint trench crossings for dry utilities
02813-0011 |  | 2" Conduit | 399 | LNFT
02813-0012 |  | 4" Conduit | 2793 | LNFT
02813-0013 |  | 6" Conduit | 399 | LNFT
02813-0014 |  | 8" conduit | 399 | LNFT
02813-0015 |  | Trenching For Dry Utility Crossings | 399 | LNFT
02813-0016 |  | #N/A | #N/A | #N/A
02813-0017 |  | #N/A | #N/A | #N/A
02813-0018 |  | #N/A | #N/A | #N/A
02813-0019 |  | #N/A | #N/A | #N/A
02813-0020 |  | #N/A | #N/A | #N/A
Signage & Striping
02815-0001 |  | #N/A | #N/A | #N/A
02815-0002 |  | #N/A | #N/A | #N/A
02815-0003 |  | R1-1 Stop Sign | 6 | EACH
02815-0004 |  | #N/A | #N/A | #N/A
02815-0005 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02815-0006 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02815-0007 |  | #N/A | #N/A | #N/A
02815-0008 |  | #N/A | #N/A | #N/A
02815-0009 |  | #N/A | #N/A | #N/A
02815-0010 |  | #N/A | #N/A | #N/A
02815-0011 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02815-0012 |  | #N/A | #N/A | #N/A
02815-0013 |  | #N/A | #N/A | #N/A
02815-0014 |  | Decorative Base & Cap | 5 | EACH |  |  | #REF! | #REF!
02815-0015 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02815-0016 |  | Street Name Signs | 23 | EACH |  |  | #REF! | #REF!
02815-0017 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02815-0018 |  | #N/A | #N/A | #N/A
|  | #N/A | #N/A | #N/A
Striping
02816-0001 |  | Stop Bar Markings (Thermoplastic Tape) | 66.654 | LNFT
02816-0002 |  | #N/A | #N/A | #N/A
02816-0003 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02816-0004 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02816-0005 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02816-0006 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
Erosion Control
02817-0001 |  | Stabilized Construction Entrance Maintenance | 1 | LPSM |  |  | #REF! | #REF!
02817-0002 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02817-0003 |  | Temporary diversion ditch | 1391.96 | LNFT |  |  | #REF! | #REF!
02817-0004 |  | 10000 CF Sedimentation basin | 2 | EACH |  |  | #REF! | #REF!
02817-0005 |  | Filter Sock Inlet Protection | 23 | EACH |  |  | #REF! | #REF!
02817-0006 |  | #N/A | #N/A | #N/A
02814 - MISCELLANEOUS
02814-0001 |  | Survey Monumentation | 7 | EACH |  |  | #REF!
02814-0002 |  | #N/A | #N/A | #N/A |  |  | #REF!
02814-0003 |  | HSE Compliance | 1 | EACH
02814-0004 |  | #N/A | #N/A | #N/A
02814-0005 |  | #N/A | #N/A | #N/A
02814-0006 |  | #N/A | #N/A | #N/A |  |  | #REF!
02814-0007 |  | #N/A | #N/A | #N/A |  |  | #REF!
Grand Total
*This item is the additional cost above the base price to pour and cure concrete during cold weather.
This amount will be subtracted from contract if not poured in cold weather.
**Work completed under each bid item shall be considered complete compensation for all labor, equipment, and materials necessary to construction the item per the governing agencies specifications and standard drawings. Work under this item may also include, but not limited to, mobilization, traffic control, excavation, saw cutting, coring, concrete casting, trenching, landscaping and other miscellaneous site work.

## QTO ITEMS
PAY_ITEM_ID | DESCRIPTION | QUANTITY | UNIT
02510-0003 | Subgrade Prep for Roadways (5' Behind ROW Ea. Side) | 257986.98 | SQFT
02510-0004 | 3" PG 64-22 Asphalt (Pavement Section) | 85550.41 | SQFT
02510-0005 | 5" PG 64-22 Asphalt (Pavement Section) | 14918.74 | SQFT
02510-0006 | 8" Granular Base Course, Lip to Lip | 85550.41 | SQFT
02510-0007 | 10" Granular Base Course, Lip to Lip | 14918.74 | SQFT
02510-0009 | 6" Granular Subbase, Lip to Lip | 14918.74 | SQFT
02510-0013 | Roadway Over excavation and Import (25% for 18" TBC to TBC) | 1653.34 | CY
02510-0014 | 2.5-foot Curb and Gutter with Base Course | 7280.029 | LNFT
02510-0015 | 5' wide Sidewalk (5" thick) with Base Course | 6533.908 | LNFT
02510-0016 | 7' Wide Sidewalk (5" thick) with Base Course | 504.558 | LNFT
02510-0017 | 8' Wide Sidewalk (5" thick) with Base Course | 2834.48 | LNFT
02510-0018 | Sidewalk Handicap Ramps W/ Base Course | 33 | EACH
02510-0019 | Sidewalk Handicap Ramps Long W/ Base Course | 1 | EACH
02510-0020 | Subgrade Prep for Lanes ROW to ROW | 65593.47 | SQFT
02510-0021 | Lane 6" Granular Base Course ROW to ROW | 65593.47 | SQFT
02510-0022 | Lane 6" 4000 psi Concrete | 52975.3 | SQFT
02510-0023 | Lane Drive Approach with Base Course | 10 | EACH
02510-0032 | Demo Existing Curb & Gutter | 252 | LNFT
02665-0002 | 8" C-900 Pipe | 3556.194 | LNFT
02665-0006 | 8" Gate Valves with valve box/cover | 8 | EACH
02665-0009 | Fire Hydrant Assembly (Includes Valve & Piping) | 9 | EACH
02665-0010 | Fire Hydrant Concrete Pad | 9 | EACH
02665-0011 | 8" x 6" Fire Hydrant Tee | 9 | EACH
02665-0015 | 22.5° Bend | 6 | EACH
02665-0016 | 45° Bend | 1 | EACH
02665-0018 | 3/4" Service Connections with 3/4" meters | 88 | EACH
02665-0019 | 1" Service Connection with 3/4" meter | 5 | EACH
02665-0023 | 8" Tie-ins to existing system | 7 | EACH
02665-0026 | 8" Tee | 4 | EACH
02667-0009 | 6" Tee w/ 1.5" Reducer | 1 | EACH
02667-0013 | 1.5" Meter Irrigation Point of Connection (P.O.C) | 1 | EACH
02721-0001 | 6" HDPE Pipe | 362.639 | LNFT
02721-0002 | 18" RCP CLIII Pipe | 971.392 | LNFT
02721-0003 | 24" RCP CLIII Pipe | 338.908 | LNFT
02721-0005 | Catch Basin | 6 | EACH
02721-0006 | Combo Box | 4 | EACH
02721-0007 | Bubble Up | 2 | EACH
02721-0008 | 5' Storm Drain Cleanout | 2 | EACH
02721-0010 | Dry Well | 2 | EACH
02721-0016 | Tie Pipe to Existing Pipe | 2 | EACH
02721-0017 | Connect Manhole/Combo Box to Existing Pipe | 1 | EACH
02722-0001 | 8" PVC Sewer Line | 1578.14 | LNFT
02722-0005 | 4' Manhole | 8 | EACH
02722-0006 | 5' Manhole | 2 | EACH
02722-0010 | 4" Service Laterals (Housing Only) | 41 | EACH
02722-0011 | 4" Service Lateral Trench Import (25% of Trench in Roadway) | 47.91 | CY
02722-0016 | Tie to existing | 4 | EACH
02722-0018 | Sewer Import Fill (75% on a 5' wide trench) | 3506.98 | CY
02813-0001 | CAT 4 Lights w/Poles | 11 | EACH
02813-0002 | CAT 3 Lights w/Poles | 2 | EACH
02813-0003 | CAT 3 Lights w/ Concrete Poles | 6 | EACH
02813-0004 | Conduit Box | 28 | EACH
02813-0005 | 2 Gauge Wire (1) | 1181.993 | LNFT
02813-0006 | 4 Gauge Wire (1) | 1181.993 | LNFT
02813-0007 | 6 Gauge Wire (1) | 21275.882 | LNFT
02813-0010 | 2" Conduit - Along Street (1) | 7879.956 | LNFT
02813-0011 | 2" Conduit | 399 | LNFT
02813-0012 | 4" Conduit | 2793 | LNFT
02813-0013 | 6" Conduit | 399 | LNFT
02813-0014 | 8" conduit | 399 | LNFT
02813-0015 | Trenching For Dry Utility Crossings | 399 | LNFT
02814-0001 | Survey Monumentation | 7 | EACH
02814-0003 | HSE Compliance | 1 | EACH
02815-0003 | R1-1 Stop Sign | 6 | EACH
02815-0014 | Decorative Base & Cap | 5 | EACH
02815-0016 | Street Name Signs | 23 | EACH
02816-0001 | Stop Bar Markings (Thermoplastic Tape) | 66.654 | LNFT
02817-0001 | Stabilized Construction Entrance Maintenance | 1 | LPSM
02817-0003 | Temporary diversion ditch | 1391.96 | LNFT
02817-0004 | 10000 CF Sedimentation basin | 2 | EACH
02817-0005 | Filter Sock Inlet Protection | 23 | EACH