## 4A06
|  | ITEMIZED DESCRIPTION | QUANTITY | UNIT | UNIT COST | TOTAL COST
| 02510 - ROADWAY IMPROVEMENTS | [5 empty] | 10629.7918 | 209012
40579.65
02510-0001 |  | Mass Grade Fill | 16000 | CY |  |  | 51209.4418
02510-0002 |  | Mass Grade Cut | 15500 | CY
02510-0003 |  | Subgrade Prep for Roadways PUE to PUE (5' Behind ROW Ea. Side) | 184611.83 | SQFT
02510-0004 |  | 6" Granular Base Course, Lip to Lip (Porcini Drive) | 14105.13 | SQFT
02510-0005 |  | 8" Granular Base Course, Lip to Lip | 49525.42 | SQFT
02510-0009 |  | 3.5" Asphalt (Pavement Section) | 49525.42 | SQFT
02510-0011 |  | 6" Asphalt (Pavement Section) (Porcini Drive) | 14105.13 | SQFT
02510-0013 |  | Roadway Over Excavation and Import (25% for 18" TBC to TBC) | 1044 | CY
02510-0014 |  | 2.5-foot Curb and Gutter with Base Course | 4407.335 | LNFT
02510-0015 |  | 5' wide Sidewalk (5" thick) with Base Course | 5040 | LNFT
02510-0016 |  | 3' Wide Sidewalk (5" thick) with Base Course | 150 | LNFT
02510-0017 |  | 8' Wide Sidewalk (5" thick) with Base Course | 1132 | LNFT
02510-0018 |  | Subgrade Prep for Lanes ROW to ROW | 49893.59 | SQFT
02510-0019 |  | Lane 6" Granular Base Course ROW to ROW | 49894 | SQFT
02510-0020 |  | Lane 6" 4000 psi Concrete | 40985.33 | SQFT
02510-0021 |  | Lane Drive Approach with Base Course | 12 | EACH
02510-0022 |  | Sidewalk Handicap Ramps W/ Base Course | 17 | EACH
02510-0032 |  | Demo Existing Asphalt | 702.91 | SQFT
02510-0033 |  | Replace Ashpalt | 702.91 | SQFT
02510-0034 |  | Demo Curb and Gutter | 45 | LNFT
02665 - DOMESTIC WATER SYSTEMS
02665-0002 |  | 8" C-900 Pipe | 2898.724 | LNFT |  |  |  | FIX
02665-0006 |  | 8" Gate Valves with valve box/cover | 7 | EACH
02665-0009 |  | Fire Hydrant Assembly (Includes Valve & Piping) | 4 | EACH
02665-0010 |  | Fire Hydrant Concrete Pad | 4 | EACH
02665-0011 |  | 8" x 6" Fire Hydrant Tee | 4 | EACH
02665-0015 |  | 3/4" Service Connections with 3/4" meters | 54 | EACH
02665-0016 |  | 1" Service Connection with 3/4" meter | 20 | EACH
02665-0023 |  | 8" Tee | 2 | EACH
02665-0024 |  | Combination Air Valve | 1 | EACH
02665-0025 |  | Remove and Salvage 8" Valve | 2 | EACH
02665-0026 |  | 1" Meter Irrigation Point of Connection (P.O.C) | 2 | EACH
02667 - SECONDARY IRRIGATION SYSTEMS
02721-0001 |  | 8" Irrigation Line | 506 | LNFT |  |  | #REF! | #REF!
02721-0002 |  | 2" Blow Off Valve | 1 | EACH |  |  | #REF! | #REF!
|  | Irrigation 4" Conduit | 117 | LNFT
02722 - SANITARY SEWER SYSTEMS
02722-0001 |  | 8" PVC Sewer Line | 1743.652 | LNFT
02722-0003 |  | 15" PVC Sewer Line | 275 | LNFT |  |  | #REF! | #REF!
02722-0005 |  | 4' Manhole | 5 | EACH
|  | Relocate 4' Manhole | 1 | EACH
02722-0006 |  | 5' Manhole | 8 | EACH |  |  | #REF! | #REF!
02722-0007 |  | 6' Manhole Cast in Place | 1 | EACH |  |  | #REF! | #REF!
02722-0010 |  | 4" Service Laterals (Housing Only) | 67 | EACH |  |  | #REF! | #REF!
02722-0011 |  | 4" Service Lateral Trench Import (25% of Trench in Roadway) | 727.64 | CY |  |  | #REF! | #REF!
02722-0012 |  | Abandon Sewer Lateral | 3 | EACH |  |  | #REF! | #REF!
02722-0015 |  | Stub and Plug | 1 | EACH
02722-0016 |  | Tie to existing | 3 | EACH
02722-0017 |  | Abandon 8" Sewer Line | 100 | LNFT
02722-0022 |  | Sewer Import Fill (75% on a 5' Wide Trench) | 3772 | CY
02722-0023 |  | Extend Existing Sewer Laterals | 15 | EACH
02813 - ELEC, SIGNS, STRIPES & EROSION CONTROL
Electrical/Dry Utilities (Estimated)
02813-0002 |  | CAT 3 Lights w/Poles | 2 | EACH
02813-0003 |  | CAT 4 Lights w/Poles | 8 | EACH
02813-0005 |  | 2 Gauge Wire (1) | 2448 | LNFT
02813-0006 |  | 4 Gauge Wire (1) | 2448 | LNFT
02813-0007 |  | 6 Gauge Wire (1) | 2448 | LNFT
Joint trench crossings for dry utilities
02813-0011 |  | 2" Conduit | 60 | LNFT
02813-0012 |  | 4" Conduit | 420 | LNFT
02813-0013 |  | 6" Conduit | 60 | LNFT
02813-0014 |  | 8" Conduit | 60 | LNFT
02813-0015 |  | Trenching For Dry Utilities | 60 | LNFT
Signage & Striping
02815-0003 |  | R1-1 Stop Sign | 1 | EACH
02815-0015 |  | Side Walk Ends | 8 | EACH |  |  | #REF! | #REF!
02815-0016 |  | Street Name Signs | 21 | EACH |  |  | #REF! | #REF!
02815-0017 |  | R11-2 Road closed | 1 | EACH |  |  | #REF! | #REF!
Striping
02816-0001 |  | Stop Bar Markings (Thermoplastic Tape) | 13.05 | LNFT
Erosion Control
02817-0001 |  | Stabilized Construction Entrance Maintenace | 1 | EACH |  |  | #REF! | #REF!
02817-0003 |  | Temporary diversion ditch | 970.878 | LNFT |  |  | #REF! | #REF!
02817-0004 |  | 500 CF Sedimentation basin | 1 | EACH |  |  | #REF! | #REF!
02817-0005 |  | 1000 CF Sedimentation basin | 1 | EACH |  |  | #REF! | #REF!
|  | 5000 CF Sedimentation Basin | 1 | EACH
02814 - MISCELLANEOUS
02814-0001 |  | Survey Monumentation | 1 | EACH |  |  | #REF!
02814-0002 |  | Mobilization/Demolization | 1 | EACH |  |  | #REF!
02814-0003 |  | HSE Complience | 1 | EACH |  |  | #REF!
02814-0004 |  | Kennecott Land T&M Contingency | 1 | EACH |  |  | #REF!
|  | Excavate New Flood Control Pond | 4950 | CY |  |  | #REF!
|  | Relocate Overland Lake Fill Line | 1 | EACH |  |  | #REF!
Grand Total
**Work completed under each bid item shall be considered complete compensation for all labor, equipment, and materials necessary to construction the item per the governing agencies specifications and standard drawings. Work under this item may also include, but not limited to, mobilization, traffic control, excavation, saw cutting, coring, concrete casting, trenching, landscaping and other miscellaneous site work.

## QTO ITEMS
PAY_ITEM_ID | DESCRIPTION | QUANTITY | UNIT
02510-0003 | Subgrade Prep for Roadways PUE to PUE (5' Behind ROW Ea. Side) | 184611.83 | SQFT
02510-0004 | 6" Granular Base Course, Lip to Lip | 14105.13 | SQFT
02510-0005 | 8" Granular Base Course, Lip to Lip | 49525.42 | SQFT
02510-0009 | 3.5" Asphalt (Pavement Section) | 49525.42 | SQFT
02510-0011 | 6" Asphalt (Pavement Section) | 14105.13 | SQFT
02510-0014 | 2.5-foot Curb and Gutter with Base Course | 4407.335 | LNFT
02510-0015 | 5' wide Sidewalk (5" thick) with Base Course | 5533.739 | LNFT
02510-0016 | 3' Wide Sidewalk (5" thick) with Base Course | 299.519 | LNFT
02510-0017 | 8' Wide Sidewalk (6" thick) with Base Course | 645.921 | LNFT
02510-0018 | Subgrade Prep for Lanes ROW to ROW | 49893.59 | SQFT
02510-0019 | Lane 6" Granular Base Course ROW to ROW | 46187.68 | SQFT
02510-0020 | Lane 6" 4000 psi Concrete | 40985.33 | SQFT
02510-0021 | Lane Drive Approach with Base Course | 12 | EACH
02510-0022 | Sidewalk Handicap Ramps W/ Base Course | 17 | EACH
02510-0024 | Cold Weather Add-on* 5' Sidewalk | 5533.739 | LNFT
02510-0025 | Cold Weather Add-on* 3' Sidewalk | 149.76 | LNFT
02510-0026 | Cold Weather Add-on* 8' Sidewalk | 1291.841 | LNFT
02510-0027 | Cold Weather Add-on* Sidewalk Handicap Ramps | 17 | EACH
02510-0028 | Cold Weather Add-on* Lane Drive Approach | 12 | EACH
02510-0032 | Demo Existing Asphalt | 702.91 | SQFT
02510-0033 | Replace Ashpalt | 702.91 | SQFT
02665-0002 | 8" C-900 Pipe | 2898.724 | LNFT
02665-0006 | 8" Gate Valves with valve box/cover | 7 | EACH
02665-0009 | Fire Hydrant Assembly (Includes Valve & Piping) | 5 | EACH
02665-0010 | Fire Hydrant Concrete Pad | 5 | EACH
02665-0011 | 8" x 6" Fire Hydrant Tee | 5 | EACH
02665-0015 | 3/4" Service Connections with 3/4" meters | 56 | EACH
02665-0016 | 1" Service Connection with 3/4" meter | 19 | EACH
02665-0023 | 8" Tee | 2 | EACH
02665-0032 | 8" 90? Bend | 4 | EACH
02665-0033 | Combination Air Valve | 1 | EACH
02667-0008 | 1" Meter Irrigation Point of Connection (P.O.C) | 3 | EACH
02722-0001 | 8" PVC Sewer Line | 1743.652 | LNFT
02722-0003 | 15" PVC Sewer Line | 268.327 | LNFT
02722-0005 | 4' Manhole | 6 | EACH
02722-0006 | 5' Manhole | 8 | EACH
02722-0007 | 6' Manhole Cast in Place | 1 | EACH
02722-0010 | 4" Service Laterals (Housing Only) | 72 | EACH
02722-0011 | 4" Service Lateral Trench Import (25% of Trench in Roadway) | 727.64 | CY
02722-0015 | Stub and Plug | 1 | EACH
02722-0016 | Tie to existing | 3 | EACH
02722-0017 | Abandon 8" Sewer Stub | 62 | EACH
02813-0002 | CAT 3 Lights w/Poles | 2 | EACH
02813-0003 | CAT 4 Lights w/Poles | 8 | EACH
02815-0003 | R1-1 Stop Sign | 1 | EACH
02815-0015 | Side Walk Ends | 8 | EACH
02815-0016 | Street Name Signs | 21 | EACH
02815-0017 | R11-2 Road closed | 1 | EACH
02816-0001 | Stop Bar Markings (Thermoplastic Tape) | 13.05 | LNFT
02817-0003 | Temporary diversion ditch | 970.878 | LNFT
02817-0004 | 500 CF Sedimentation basin | 1 | EACH
02817-0005 | 1000 CF Sedimentation basin | 1 | EACH
02817-0006 | 5000 CF Sedimentation basin | 1 | EACH