## 4A07
|  | ITEMIZED DESCRIPTION | QUANTITY | UNIT | UNIT COST | TOTAL COST
| 02510 - ROADWAY IMPROVEMENTS | [5 empty] | 10629.7918 | 209012
40579.65
02510-0001 |  | Mass Grade Fill | 15000 | CY |  |  | 51209.4418
02510-0002 |  | Mass Grade Cut | 18000 | CY
02510-0003 |  | Subgrade Prep for Roadways (5' Behind ROW Ea. Side) | 107278.6 | SQFT
02510-0004 |  | 3" PG 64-22 Asphalt (Pavement Section) | 41341.5 | SQFT
02510-0005 |  | 4" PG 64-22 Asphalt (Pavement Section) | 3059.03 | SQFT
02510-0006 |  | 8" Granular Base Course, Lip to Lip | 44400.53 | SQFT
02510-0013 |  | Roadway Over excavation and Import (25% for 18" TBC to TBC) | 734.43 | CY
02510-0014 |  | 2.5-foot Curb and Gutter with Base Course | 3272.427 | LNFT
02510-0015 |  | 5' wide Sidewalk (5" thick) with Base Course | 2910.821 | LNFT
02510-0017 |  | 8' Wide Sidewalk (5" thick) with Base Course | 491.965 | LNFT
02510-0018 |  | Subgrade Prep for Lanes ROW to ROW | 3000 | SQFT
02510-0019 |  | Lane 6" Granular Base Course ROW to ROW | 3000 | SQFT
02510-0020 |  | Lane 6" 4000 psi Concrete | 2400 | SQFT
02510-0021 |  | Lane Drive Approach with Base Course | 1 | EACH
02510-0022 |  | Sidewalk Handicap Ramps W/ Base Course | 11 | EACH
02510-0023 |  | Cold Weather Add-on* 2.5 ft Curb & Gutter | 3272.427 | LNFT
02510-0024 |  | Cold Weather Add-on* 5' Sidewalk | 2910.821 | LNFT
02510-0026 |  | Cold Weather Add-on* 8' Sidewalk | 491.965 | LNFT
02510-0028 |  | Cold Weather Add-on* Alley Drive Approach | 1 | EACH
02510-0029 |  | Demo Sidewalk Handicap Ramps | 2 | EACH
02510-0030 |  | Demo 5' Sidewalk | 51 | LNFT
02510-0031 |  | Demo Existing Curb & Gutter | 199.409 | LNFT
02510-0032 |  | Demo Existing Asphalt | 3059.03 | SQFT
02510-0034 |  | Temporary Turn Around | 2 | EACH
02510-0035 |  | Concrete Section (DT01/C) | 1 | EACH
02510-0036 |  | Monitoring Well Cover | 1 | EACH
02665 - DOMESTIC WATER SYSTEMS
02665-0002 |  | 8" C-900 Pipe | 2247.943 | LNFT |  |  |  | FIX
02665-0006 |  | 8" Gate Valves with valve box/cover | 6 | EACH
02665-0009 |  | Fire Hydrant Assembly (Includes Valve & Piping) | 4 | EACH
02665-0010 |  | Fire Hydrant Concrete Pad | 4 | EACH
02665-0011 |  | 8" x 6" Fire Hydrant Tee | 4 | EACH
02665-0017 |  | 8" 90° Bend | 4 | EACH
02665-0018 |  | 3/4" Service Connections with 3/4" meters | 39 | EACH
02665-0019 |  | 1" Service Connection with 3/4" meter | 1 | EACH
02665-0022 |  | 2" Blow Off Assembly | 2 | EACH
02665-0023 |  | 8" Tie-ins to existing system | 4 | EACH
02665-0026 |  | 8" Tee | 3 | EACH
02665-0039 |  | Borings (Water Laterals) | 2 | EACH
02667 - SECONDARY IRRIGATION SYSTEMS
02667-0001 |  | 8" C-900 | 128.196 | LNFT
02667-0004 |  | 8'' Tie-ins to existing system | 1 | EACH
02667-0006 |  | 2" Blow Off Assembly | 1 | EACH
02722 - SANITARY SEWER SYSTEMS
02722-0001 |  | 8" PVC Sewer Line | 1062.663 | LNFT
02722-0005 |  | 4' Manhole | 3 | EACH
02722-0006 |  | 5' Manhole | 2 | EACH |  |  | #REF! | #REF!
02722-0020 |  | Relocate Sewer Manhole | 1 | EACH |  |  | #REF! | #REF!
02722-0009 |  | Extend Sewer Lateral to 10 ft past ROW | 15 | EACH |  |  | #REF! | #REF!
02722-0010 |  | 4" Service Laterals (Housing Only) | 21 | EACH |  |  | #REF! | #REF!
02722-0011 |  | 4" Service Lateral Trench Import (25% of Trench in Roadway) | 268.29 | CY |  |  | #REF! | #REF!
02722-0012 |  | Sewer Cleanout | 1 | EACH |  |  | #REF! | #REF!
02722-0013 |  | 6" Service Laterals | 1 | EACH |  |  | #REF! | #REF!
02722-0015 |  | Stub and Plug | 1 | EACH
02722-0016 |  | Tie to existing | 3 | EACH
02722-0018 |  | Sewer Import Fill (75% on a 5' wide trench) | 2213.88 | CY
02722-0021 |  | Nose On Connection (Sewer Lateral) | 1 | EACH
02813 - ELEC, SIGNS, STRIPES & EROSION CONTROL
Electrical/Dry Utilities (Estimated)
02813-0002 |  | CAT 3 Lights w/Poles | 2 | EACH
02813-0003 |  | CAT 4 Lights w/Poles | 6 | EACH
02813-0005 |  | 2 Gauge Wire (1) | 3676.468 | LNFT
02813-0006 |  | 4 Gauge Wire (1) | 1225.489 | LNFT
02813-0007 |  | 6 Gauge Wire (1) | 1225.489 | LNFT
Joint trench crossings for dry utilities
02813-0011 |  | 2" Conduit | 170 | LNFT
02813-0012 |  | 4" Conduit | 1190 | LNFT
02813-0013 |  | 6" Conduit | 170 | LNFT
02813-0014 |  | 8" conduit | 170 | LNFT
02813-0015 |  | Trenching For Dry Utility Crossings | 170 | LNFT
Signage & Striping
02815-0003 |  | R1-1 Stop Sign | 2 | EACH
02815-0004 |  | Decorative Base and Cap | 2 | EACH
02815-0015 |  | Side Walk Ends | 5 | EACH |  |  | #REF! | #REF!
02815-0016 |  | Street Name Signs | 4 | EACH |  |  | #REF! | #REF!
02815-0017 |  | R11-2 Road closed | 2 | EACH |  |  | #REF! | #REF!
Striping
02816-0001 |  | Stop Bar Markings (Thermoplastic Tape) | 21 | LNFT
Erosion Control
02817-0001 |  | Stabilized Construction Entrance Maintenance | 1 | LPSM |  |  | #REF! | #REF!
02817-0002 |  | Filter Sock Inlet Protection | 5 | EACH |  |  | #REF! | #REF!
02817-0003 |  | Temporary diversion ditch | 1423.867 | LNFT |  |  | #REF! | #REF!
02817-0004 |  | 6000 CF Sedimentation basin | 1 | EACH |  |  | #REF! | #REF!
02817-0005 |  | 10000 CF Sedimentation basin | 1 | EACH |  |  | #REF! | #REF!
02814 - MISCELLANEOUS
02814-0001 |  | Survey Monumentation | 3 | EACH |  |  | #REF!
02814-0002 |  | Mobilization/Demobilization | 1 | EACH |  |  | #REF!
02814-0003 |  | HSE Compliance | 1 | EACH
02814-0004 |  | Kennecott Land T&M Contingency | 1 | EACH
02814-0005 |  | Traffic Control | 1 | EACH
Grand Total
*This item is the additional cost above the base price to pour and cure concrete during cold weather.
This amount will be subtracted from contract if not poured in cold weather.
**Work completed under each bid item shall be considered complete compensation for all labor, equipment, and materials necessary to construction the item per the governing agencies specifications and standard drawings. Work under this item may also include, but not limited to, mobilization, traffic control, excavation, saw cutting, coring, concrete casting, trenching, landscaping and other miscellaneous site work.

## QTO ITEMS
PAY_ITEM_ID | DESCRIPTION | QUANTITY | UNIT
02510-0003 | Subgrade Prep for Roadways (5' Behind ROW Ea. Side) | 107278.6 | SQFT
02510-0004 | 3" PG 64-22 Asphalt (Pavement Section) | 41341.5 | SQFT
02510-0005 | 4" PG 64-22 Asphalt (Pavement Section) | 3059.03 | SQFT
02510-0006 | 8" Granular Base Course, Lip to Lip | 44400.53 | SQFT
02510-0013 | Roadway Over excavation and Import (25% for 18" TBC to TBC) | 734.43 | CY
02510-0014 | 2.5-foot Curb and Gutter with Base Course | 3272.427 | LNFT
02510-0015 | 5' wide Sidewalk (5" thick) with Base Course | 2910.821 | LNFT
02510-0017 | 8' Wide Sidewalk (5" thick) with Base Course | 491.965 | LNFT
02510-0018 | Subgrade Prep for Lanes ROW to ROW | 3000 | SQFT
02510-0019 | Lane 6" Granular Base Course ROW to ROW | 3000 | SQFT
02510-0020 | Lane 6" 4000 psi Concrete | 2400 | SQFT
02510-0021 | Lane Drive Approach with Base Course | 1 | EACH
02510-0022 | Sidewalk Handicap Ramps W/ Base Course | 11 | EACH
02510-0023 | Cold Weather Add-on* 2.5 ft Curb & Gutter | 3272.427 | LNFT
02510-0024 | Cold Weather Add-on* 5' Sidewalk | 2910.821 | LNFT
02510-0026 | Cold Weather Add-on* 8' Sidewalk | 491.965 | LNFT
02510-0028 | Cold Weather Add-on* Alley Drive Approach | 1 | EACH
02510-0029 | Demo Sidewalk Handicap Ramps | 2 | EACH
02510-0030 | Demo 5' Sidewalk | 51 | LNFT
02510-0031 | Demo Existing Curb & Gutter | 199.409 | LNFT
02510-0032 | Demo Existing Asphalt | 3059.03 | SQFT
02510-0034 | Temporary Turn Around | 2 | EACH
02510-0035 | Concrete Section (DT01/C) | 1 | EACH
02510-0036 | Monitoring Well Cover | 1 | EACH
02665-0002 | 8" C-900 Pipe | 2247.943 | LNFT
02665-0006 | 8" Gate Valves with valve box/cover | 6 | EACH
02665-0009 | Fire Hydrant Assembly (Includes Valve & Piping) | 4 | EACH
02665-0010 | Fire Hydrant Concrete Pad | 4 | EACH
02665-0011 | 8" x 6" Fire Hydrant Tee | 4 | EACH
02665-0017 | 8" 90° Bend | 4 | EACH
02665-0018 | 3/4" Service Connections with 3/4" meters | 39 | EACH
02665-0019 | 1" Service Connection with 3/4" meter | 1 | EACH
02665-0022 | 2" Blow Off Assembly | 2 | EACH
02665-0023 | 8" Tie-ins to existing system | 4 | EACH
02665-0026 | 8" Tee | 3 | EACH
02665-0039 | Borings (Water Laterals) | 2 | EACH
02665-0040 | Abandon Water Meter | 9 | EACH
02665-0041 | Cap and Abandon 4" Water Line | 2 | EACH
02667-0001 | 8" C-900 | 128.196 | LNFT
02667-0004 | 8'' Tie-ins to existing system | 1 | EACH
02667-0006 | 2" Blow Off Assembly | 1 | EACH
02722-0001 | 8" PVC Sewer Line | 1062.663 | LNFT
02722-0005 | 4' Manhole | 3 | EACH
02722-0006 | 5' Manhole | 2 | EACH
02722-0009 | Extend Sewer Lateral to 10 ft past ROW | 10 | EACH
02722-0010 | 4" Service Laterals (Housing Only) | 21 | EACH
02722-0011 | 4" Service Lateral Trench Import (25% of Trench in Roadway) | 268.29 | CY
02722-0012 | Sewer Cleanout | 1 | EACH
02722-0013 | 6" Service Laterals | 1 | EACH
02722-0015 | Stub and Plug | 1 | EACH
02722-0016 | Tie to existing | 1 | EACH
02722-0018 | Sewer Import Fill (75% on a 5' wide trench) | 2213.88 | CY
02722-0020 | Relocate Sewer Manhole | 1 | EACH
02722-0021 | Nose On Connection (Sewer Lateral) | 1 | EACH
02722-0022 | Abandon 6" Sewer Lateral | 1 | EACH
02813-0002 | CAT 3 Lights w/Poles | 2 | EACH
02813-0003 | CAT 4 Lights w/Poles | 6 | EACH
02813-0005 | 2 Gauge Wire (1) | 3676.468 | LNFT
02813-0006 | 4 Gauge Wire (1) | 1225.489 | LNFT
02813-0007 | 6 Gauge Wire (1) | 1225.489 | LNFT
02813-0011 | 2" Conduit | 170 | LNFT
02813-0012 | 4" Conduit | 1190 | LNFT
02813-0013 | 6" Conduit | 170 | LNFT
02813-0014 | 8" conduit | 170 | LNFT
02813-0015 | Trenching For Dry Utility Crossings | 170 | LNFT
02814-0001 | Survey Monumentation | 3 | EACH
02814-0002 | Mobilization/Demobilization | 1 | EACH
02814-0003 | HSE Compliance | 1 | EACH
02814-0004 | Kennecott Land T&M Contingency | 1 | EACH
02815-0003 | R1-1 Stop Sign | 2 | EACH
02815-0015 | Side Walk Ends | 5 | EACH
02815-0016 | Street Name Signs | 4 | EACH
02815-0017 | R11-2 Road closed | 2 | EACH
02816-0001 | Stop Bar Markings (Thermoplastic Tape) | 21 | LNFT
02817-0001 | Stabilized Construction Entrance Maintenance | 1 | LPSM
02817-0003 | Temporary diversion ditch | 1423.867 | LNFT
02817-0004 | 6000 CF Sedimentation basin | 1 | EACH
02817-0005 | 10000 CF Sedimentation basin | 1 | EACH
02817-0006 | Filter Sock Inlet Protection | 5 | EACH