## V5P4
|  | ITEMIZED DESCRIPTION | QUANTITY | UNIT | UNIT COST | TOTAL COST
| 02510 - ROADWAY IMPROVEMENTS | [5 empty] | 10629.7918 | 209012
40579.65
02510-0001 |  | Mass Grade Fill | 46000 | CY |  |  | 51209.4418
02510-0002 |  | Mass Grade Cut | 44000 | CY
|  | Haul 20,000 Yards to Kestrel & South Of South Jordan Parkway | 1 | EACH
|  | Storm Drain Cut | 5000 | CY
02510-0003 |  | Subgrade Prep for Roadways (5' Behind ROW Ea. Side) | 290772.37 | SQFT
02510-0004 |  | 3" PG 64-22 Asphalt (Pavement Section) | 95077.35 | SQFT
02510-0005 |  | 4" PG 64-22 Asphalt (Pavement Section) | 34247.25 | SQFT
02510-0006 |  | 8" Granular Base Course, Lip to Lip | 95077.35 | SQFT
02510-0007 |  | 11" Granular Base Course, Lip to Lip | 34247.25 | SQFT
02510-0008 |  | #N/A | #N/A | #N/A
02510-0009 |  | #N/A | #N/A | #N/A
02510-0010 |  | #N/A | #N/A | #N/A
02510-0011 |  | #N/A | #N/A | #N/A
02510-0012 |  | #N/A | #N/A | #N/A
02510-0013 |  | Roadway Over excavation and Import (25% for 18" TBC to TBC) | 2127.46 | CY
02510-0014 |  | 2.5-foot Curb and Gutter with Base Course | 8296.113 | LNFT
02510-0015 |  | 5' wide Sidewalk (5" thick) with Base Course | 9462.936 | LNFT
02510-0016 |  | #N/A | #N/A | #N/A
02510-0017 |  | 8' Wide Sidewalk (5" thick) with Base Course | 484.565 | LNFT
02510-0018 |  | Subgrade Prep for Alleys ROW to ROW | 71095.93 | SQFT
02510-0019 |  | Lane 6" Granular Base Course ROW to ROW | 71095.93 | SQFT
02510-0020 |  | Lane 6" 4000 psi Concrete | 60314.86 | SQFT
02510-0021 |  | Alley Drive Approach with Base Course | 16 | EACH
02510-0022 |  | Sidewalk Handicap Ramps W/ Base Course | 28 | EACH
02510-0023 |  | #N/A | #N/A | #N/A
02510-0024 |  | #N/A | #N/A | #N/A
02510-0025 |  | #N/A | #N/A | #N/A
02510-0026 |  | #N/A | #N/A | #N/A
02510-0027 |  | #N/A | #N/A | #N/A
02510-0028 |  | #N/A | #N/A | #N/A
02510-0029 |  | 6' Concrete Waterway | 1 | EACH
02510-0030 |  | #N/A | #N/A | #N/A
02510-0031 |  | Demo Existing Curb & Gutter | 160.261 | LNFT
02510-0032 |  | #N/A | #N/A | #N/A
02510-0033 |  | #N/A | #N/A | #N/A
02510-0034 |  | #N/A | #N/A | #N/A
02510-0035 |  | #N/A | #N/A | #N/A
02510-0036 |  | #N/A | #N/A | #N/A
02510-0037 |  | #N/A | #N/A | #N/A
02510-0038 |  | #N/A | #N/A | #N/A
02510-0039 |  | #N/A | #N/A | #N/A
02510-0040 |  | #N/A | #N/A | #N/A
02510-0041 |  | #N/A | #N/A | #N/A
02665 - DOMESTIC WATER SYSTEMS
02665-0001 |  | 6" C-900 Pipe | 38.535 | LNFT
02665-0002 |  | 8" C-900 Pipe | 4504.266 | LNFT |  |  |  | FIX
02665-0003 |  | #N/A | #N/A | #N/A
02665-0004 |  | #N/A | #N/A | #N/A
02665-0005 |  | #N/A | #N/A | #N/A |  |  |  | FIX
02665-0006 |  | 8" Gate Valves with valve box/cover | 16 | EACH
02665-0007 |  | #N/A | #N/A | #N/A
02665-0008 |  | #N/A | #N/A | #N/A
02665-0009 |  | Fire Hydrant Assembly (Includes Valve & Piping) | 9 | EACH
02665-0010 |  | Fire Hydrant Concrete Pad | 9 | EACH
02665-0011 |  | 8" x 6" Fire Hydrant Tee | 9 | EACH
02665-0012 |  | #N/A | #N/A | #N/A
02665-0013 |  | #N/A | #N/A | #N/A
02665-0014 |  | 11.25° Bend | 1 | EACH
02665-0015 |  | #N/A | #N/A | #N/A
02665-0016 |  | #N/A | #N/A | #N/A
02665-0017 |  | #N/A | #N/A | #N/A
02665-0018 |  | 3/4" Service Connections with 3/4" meters | 75 | EACH
02665-0019 |  | 1" Service Connection with 3/4" meter | 12 | EACH
02665-0020 |  | 1" Service Connection (Connect to Existing Meter) | 6 | EACH
02665-0021 |  | #N/A | #N/A | #N/A
02665-0022 |  | 2" Blow Off Assembly | 4 | EACH
02665-0023 |  | 8" Tie-ins to existing system | 4 | EACH
02665-0024 |  | #N/A | #N/A | #N/A
02665-0025 |  | #N/A | #N/A | #N/A
02665-0026 |  | 8" Tee | 6 | EACH
02665-0027 |  | #N/A | #N/A | #N/A
02665-0028 |  | #N/A | #N/A | #N/A
02665-0029 |  | 8" Cross | 1 | EACH
02665-0030 |  | #N/A | #N/A | #N/A
02665-0031 |  | #N/A | #N/A | #N/A
02665-0032 |  | #N/A | #N/A | #N/A
02665-0033 |  | #N/A | #N/A | #N/A
02665-0034 |  | #N/A | #N/A | #N/A
02665-0035 |  | #N/A | #N/A | #N/A
02665-0036 |  | #N/A | #N/A | #N/A
02665-0037 |  | #N/A | #N/A | #N/A
02665-0038 |  | #N/A | #N/A | #N/A
02665-0039 |  | #N/A | #N/A | #N/A
02665-0040 |  | #N/A | #N/A | #N/A
02665-0041 |  | #N/A | #N/A | #N/A
02665-0042 |  | #N/A | #N/A | #N/A
02665-0043 |  | #N/A | #N/A | #N/A
02665-0044 |  | #N/A | #N/A | #N/A
02665-0045 |  | #N/A | #N/A | #N/A
02665-0046 |  | #N/A | #N/A | #N/A
02665-0047 |  | #N/A | #N/A | #N/A
02665-0048 |  | #N/A | #N/A | #N/A
02665-0049 |  | #N/A | #N/A | #N/A
02665-0050 |  | #N/A | #N/A | #N/A
02667 - SECONDARY IRRIGATION SYSTEMS
02667-0001 |  | 6" C-900 | 1318.646 | LNFT
02667-0002 |  | #N/A | #N/A | #N/A
02667-0003 |  | 6" Gate Valves with valve box/cover | 2 | EACH
02667-0004 |  | 6'' Tie-ins to existing system | 1 | EACH
02667-0005 |  | 6" Tee with 2" Reducer | 2 | EACH
02667-0006 |  | #N/A | #N/A | #N/A
02667-0007 |  | 1" Irrigation Pipe | 231.358 | LNFT
02667-0008 |  | 1" Meter Irrigation Point of Connection (P.O.C) | 1 | EACH
02667-0009 |  | 2" Meter Irrigation Point of Connection (P.O.C.) | 2 | EACH
02667-0010 |  | #N/A | #N/A | #N/A
02667-0011 |  | #N/A | #N/A | #N/A
02667-0012 |  | #N/A | #N/A | #N/A
02667-0013 |  | 10" Tee with 6" Reducer (Tie to Existin 10" Pipe) | 1 | EACH
02667-0014 |  | #N/A | #N/A | #N/A
02667-0015 |  | 6" 90° Bend | 1 | EACH
02667-0016 |  | 2" Irrigation Lateral | 32 | LNFT
02667-0017 |  | 2" Irrigation Conduit | 140 | LNFT
02667-0018 |  | 6" Tee with 1" Reducer | 1 | EACH
02721 - STORM DRAINAGE SYSTEMS
02721-0001 |  | 18" RCP CLIII Pipe | 26 | LNFT |  |  | #REF! | #REF!
02721-0002 |  | 24" RCP CLIII Pipe | 666.781 | LNFT
02721-0003 |  | Catch Basin | 4 | EACH
02721-0004 |  | Combo Box | 3 | EACH
02721-0005 |  | #N/A | #N/A | #N/A
02721-0006 |  | 5' Storm Drain Cleanout | 1 | EACH
02721-0007 |  | #N/A | #N/A | #N/A
02721-0008 |  | #N/A | #N/A | #N/A
02721-0009 |  | #N/A | #N/A | #N/A
02721-0010 |  | #N/A | #N/A | #N/A
02721-0011 |  | #N/A | #N/A | #N/A
02721-0012 |  | #N/A | #N/A | #N/A
02721-0013 |  | Tie Pipe to Existing Pipe | 1 | EACH |  |  | #REF! | #REF!
02721-0014 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02721-0015 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02721-0016 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02721-0017 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02721-0018 |  | Install Stub and Plug | 1 | EACH |  |  | #REF! | #REF!
02721-0019 |  | 102" CMP SD Gallery | 1 | EACH
02721-0020 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02721-0021 |  | #N/A | #N/A | #N/A
02721-0022 |  | #N/A | #N/A | #N/A
02721-0023 |  | #N/A | #N/A | #N/A
02721-0024 |  | #N/A | #N/A | #N/A
02721-0025 |  | #N/A | #N/A | #N/A
02722 - SANITARY SEWER SYSTEMS
02722-0001 |  | 8" PVC Sewer Line | 3533.213 | LNFT
02722-0002 |  | 12" PVC Sewer Line | 334.94 | LNFT |  |  | #REF! | #REF!
02722-0003 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02722-0004 |  | #N/A | #N/A | #N/A
02722-0005 |  | 4' Manhole | 7 | EACH
02722-0006 |  | 5' Manhole | 11 | EACH |  |  | #REF! | #REF!
02722-0007 |  | 6' Manhole | 1 | EACH |  |  | #REF! | #REF!
02722-0008 |  | #N/A | #N/A | #N/A
02722-0009 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02722-0010 |  | 4" Service Laterals (Housing Only) | 79 | EACH |  |  | #REF! | #REF!
02722-0011 |  | 4" Service Lateral Trench Import (25% of Trench in Roadway) | 823.32 | CY |  |  | #REF! | #REF!
02722-0012 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02722-0013 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02722-0014 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02722-0015 |  | Stub and Plug | 3 | EACH
02722-0016 |  | Tie to existing | 6 | EACH
02722-0017 |  | #N/A | #N/A | #N/A
02722-0018 |  | Sewer Import Fill (75% on a 5' wide trench) | 8595.9 | CY
02722-0019 |  | #N/A | #N/A | #N/A
02722-0020 |  | #N/A | #N/A | #N/A
02722-0021 |  | #N/A | #N/A | #N/A
02722-0022 |  | #N/A | #N/A | #N/A
02722-0023 |  | #N/A | #N/A | #N/A
02722-0024 |  | #N/A | #N/A | #N/A
02722-0025 |  | #N/A | #N/A | #N/A
02813 - ELEC, SIGNS, STRIPES & EROSION CONTROL
Electrical/Dry Utilities (Estimated)
02813-0001 |  | #N/A | #N/A | #N/A
02813-0002 |  | CAT 3 Lights w/Poles | 6 | EACH
02813-0003 |  | CAT 4 Lights w/Poles | 16 | EACH
02813-0004 |  | #N/A | #N/A | #N/A
02813-0005 |  | 2 Gauge Wire (1) | 9214.109 | LNFT
02813-0006 |  | 4 Gauge Wire (1) | 3071.37 | LNFT
02813-0007 |  | 6 Gauge Wire (1) | 3071.37 | LNFT
02813-0008 |  | #N/A | #N/A | #N/A
02813-0009 |  | #N/A | #N/A | #N/A
02813-0010 |  | #N/A | #N/A | #N/A
Joint trench crossings for dry utilities
02813-0011 |  | 2" Conduit | 748 | LNFT
02813-0012 |  | 4" Conduit | 5236 | LNFT
02813-0013 |  | 6" Conduit | 748 | LNFT
02813-0014 |  | 8" conduit | 748 | LNFT
02813-0015 |  | Trenching For Dry Utility Crossings | 748 | LNFT
02813-0016 |  | #N/A | #N/A | #N/A
02813-0017 |  | #N/A | #N/A | #N/A
02813-0018 |  | #N/A | #N/A | #N/A
02813-0019 |  | #N/A | #N/A | #N/A
02813-0020 |  | #N/A | #N/A | #N/A
Signage & Striping
02815-0001 |  | #N/A | #N/A | #N/A
02815-0002 |  | #N/A | #N/A | #N/A
02815-0003 |  | R1-1 Stop Sign | 7 | EACH
02815-0004 |  | #N/A | #N/A | #N/A
02815-0005 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02815-0006 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02815-0007 |  | #N/A | #N/A | #N/A
02815-0008 |  | #N/A | #N/A | #N/A
02815-0009 |  | #N/A | #N/A | #N/A
02815-0010 |  | #N/A | #N/A | #N/A
02815-0011 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02815-0012 |  | #N/A | #N/A | #N/A
02815-0013 |  | #N/A | #N/A | #N/A
02815-0014 |  | Decorative Base & Cap | 6 | EACH |  |  | #REF! | #REF!
02815-0015 |  | Side Walk Ends | 6 | EACH |  |  | #REF! | #REF!
02815-0016 |  | Street Name Signs | 24 | EACH |  |  | #REF! | #REF!
02815-0017 |  | R11-2 Road closed | 4 | EACH |  |  | #REF! | #REF!
02815-0018 |  | #N/A | #N/A | #N/A
02815-0019 |  | #N/A | #N/A | #N/A
Striping
02816-0001 |  | Stop Bar Markings (Thermoplastic Tape) | 82.116 | LNFT
02816-0002 |  | Cross walk (Thermoplastic Tape) | 42.157 | LNFT
02816-0003 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02816-0004 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02816-0005 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02816-0006 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
Erosion Control
02817-0001 |  | Stabilized Construction Entrance Maintenance | 2 | LPSM |  |  | #REF! | #REF!
02817-0002 |  | #N/A | #N/A | #N/A |  |  | #REF! | #REF!
02817-0003 |  | Temporary diversion ditch | 1800.657 | LNFT |  |  | #REF! | #REF!
02817-0004 |  | 10000 CF Sedimentation basin | 1 | EACH |  |  | #REF! | #REF!
02817-0005 |  | Filter Sock Inlet Protection | 14 | EACH |  |  | #REF! | #REF!
02817-0006 |  | 2500 CF Sedimentation basin | 2 | EACH
02814 - MISCELLANEOUS
02814-0001 |  | #N/A | #N/A | #N/A |  |  | #REF!
02814-0002 |  | Mobilization/Demobilization | 1 | EACH |  |  | #REF!
02814-0003 |  | HSE Compliance | 1 | EACH
02814-0004 |  | Kennecott Land T&M Contingency | 1 | EACH
02814-0005 |  | #N/A | #N/A | #N/A
02814-0006 |  | #N/A | #N/A | #N/A |  |  | #REF!
02814-0007 |  | #N/A | #N/A | #N/A |  |  | #REF!
Grand Total
*This item is the additional cost above the base price to pour and cure concrete during cold weather.
This amount will be subtracted from contract if not poured in cold weather.
**Work completed under each bid item shall be considered complete compensation for all labor, equipment, and materials necessary to construction the item per the governing agencies specifications and standard drawings. Work under this item may also include, but not limited to, mobilization, traffic control, excavation, saw cutting, coring, concrete casting, trenching, landscaping and other miscellaneous site work.

## QTO ITEMS
PAY_ITEM_ID | DESCRIPTION | QUANTITY | UNIT
02510-0003 | Subgrade Prep for Roadways (5' Behind ROW Ea. Side) | 290772.37 | SQFT
02510-0004 | 3" PG 64-22 Asphalt (Pavement Section) | 95077.35 | SQFT
02510-0005 | 4" PG 64-22 Asphalt (Pavement Section) | 34247.25 | SQFT
02510-0006 | 8" Granular Base Course, Lip to Lip | 95077.35 | SQFT
02510-0007 | 11" Granular Base Course, Lip to Lip | 34247.25 | SQFT
02510-0013 | Roadway Over excavation and Import (25% for 18" TBC to TBC) | 2127.46 | CY
02510-0014 | 2.5-foot Curb and Gutter with Base Course | 8296.113 | LNFT
02510-0015 | 5' wide Sidewalk (5" thick) with Base Course | 9462.936 | LNFT
02510-0017 | 8' Wide Sidewalk (5" thick) with Base Course | 484.565 | LNFT
02510-0018 | Subgrade Prep for Alleys ROW to ROW | 71095.93 | SQFT
02510-0019 | Lane 6" Granular Base Course ROW to ROW | 71095.93 | SQFT
02510-0020 | Lane 6" 4000 psi Concrete | 60314.86 | SQFT
02510-0021 | Alley Drive Approach with Base Course | 16 | EACH
02510-0022 | Sidewalk Handicap Ramps W/ Base Course | 28 | EACH
02510-0029 | 6' Concrete Waterway | 1 | EACH
02510-0031 | Demo Existing Curb & Gutter | 160.261 | LNFT
02665-0001 | 6" C-900 Pipe | 38.535 | LNFT
02665-0002 | 8" C-900 Pipe | 4504.266 | LNFT
02665-0006 | 8" Gate Valves with valve box/cover | 16 | EACH
02665-0009 | Fire Hydrant Assembly (Includes Valve & Piping) | 9 | EACH
02665-0010 | Fire Hydrant Concrete Pad | 9 | EACH
02665-0011 | 8" x 6" Fire Hydrant Tee | 9 | EACH
02665-0014 | 11.25° Bend | 1 | EACH
02665-0018 | 3/4" Service Connections with 3/4" meters | 75 | EACH
02665-0019 | 1" Service Connection with 3/4" meter | 12 | EACH
02665-0020 | 1" Service Connection (Connect to Existing Meter) | 6 | EACH
02665-0022 | 2" Blow Off Assembly | 4 | EACH
02665-0023 | 8" Tie-ins to existing system | 4 | EACH
02665-0026 | 8" Tee | 6 | EACH
02665-0029 | 8" Cross | 1 | EACH
02667-0001 | 6" C-900 | 1318.646 | LNFT
02667-0003 | 6" Gate Valves with valve box/cover | 2 | EACH
02667-0004 | 6'' Tie-ins to existing system | 1 | EACH
02667-0005 | 6" Tee with 2" Reducer | 2 | EACH
02667-0007 | 1" Irrigation Pipe | 231.358 | LNFT
02667-0008 | 1" Meter Irrigation Point of Connection (P.O.C) | 1 | EACH
02667-0009 | 2" Meter Irrigation Point of Connection (P.O.C.) | 2 | EACH
02667-0013 | 10" Tee with 6" Reducer (Tie to Existin 10" Pipe) | 1 | EACH
02667-0015 | 6" 90° Bend | 1 | EACH
02667-0016 | 2" Irrigation Lateral | 32 | LNFT
02667-0017 | 2" Irrigation Conduit | 140 | LNFT
02667-0018 | 6" Tee with 1" Reducer | 1 | EACH
02721-0001 | 18" RCP CLIII Pipe | 26 | LNFT
02721-0002 | 24" RCP CLIII Pipe | 666.781 | LNFT
02721-0003 | Catch Basin | 4 | EACH
02721-0004 | Combo Box | 3 | EACH
02721-0006 | 5' Storm Drain Cleanout | 1 | EACH
02721-0013 | Tie Pipe to Existing Pipe | 1 | EACH
02721-0018 | Install Stub and Plug | 1 | EACH
02721-0019 | SD CMP Gallery | 1 | EACH
02722-0001 | 8" PVC Sewer Line | 3533.213 | LNFT
02722-0002 | 12" PVC Sewer Line | 334.94 | LNFT
02722-0005 | 4' Manhole | 7 | EACH
02722-0006 | 5' Manhole | 11 | EACH
02722-0007 | 6' Manhole | 1 | EACH
02722-0010 | 4" Service Laterals (Housing Only) | 79 | EACH
02722-0011 | 4" Service Lateral Trench Import (25% of Trench in Roadway) | 823.32 | CY
02722-0015 | Stub and Plug | 3 | EACH
02722-0016 | Tie to existing | 6 | EACH
02722-0018 | Sewer Import Fill (75% on a 5' wide trench) | 8595.9 | CY
02813-0002 | CAT 3 Lights w/Poles | 6 | EACH
02813-0003 | CAT 4 Lights w/Poles | 16 | EACH
02813-0005 | 2 Gauge Wire (1) | 9214.109 | LNFT
02813-0006 | 4 Gauge Wire (1) | 3071.37 | LNFT
02813-0007 | 6 Gauge Wire (1) | 3071.37 | LNFT
02813-0011 | 2" Conduit | 748 | LNFT
02813-0012 | 4" Conduit | 5236 | LNFT
02813-0013 | 6" Conduit | 748 | LNFT
02813-0014 | 8" conduit | 748 | LNFT
02813-0015 | Trenching For Dry Utility Crossings | 748 | LNFT
02814-0002 | Mobilization/Demobilization | 1 | EACH
02814-0003 | HSE Compliance | 1 | EACH
02814-0004 | Kennecott Land T&M Contingency | 1 | EACH
02815-0003 | R1-1 Stop Sign | 7 | EACH
02815-0014 | Decorative Base & Cap | 6 | EACH
02815-0015 | Side Walk Ends | 6 | EACH
02815-0016 | Street Name Signs | 24 | EACH
02815-0017 | R11-2 Road closed | 4 | EACH
02816-0001 | Stop Bar Markings (Thermoplastic Tape) | 82.116 | LNFT
02816-0002 | Cross walk (Thermoplastic Tape) | 42.157 | LNFT
02817-0001 | Stabilized Construction Entrance Maintenance | 2 | LPSM
02817-0003 | Temporary diversion ditch | 1800.657 | LNFT
02817-0004 | 10000 CF Sedimentation basin | 1 | EACH
02817-0005 | Filter Sock Inlet Protection | 14 | EACH
02817-0006 | 2500 CF Sedimentation basin | 2 | EACH