## Sheet3
| ITEMIZED DESCRIPTION | QUANTITY | UNIT | UNIT COST | TOTAL COST
02510 - ROADWAY IMPROVEMENTS
| Mass Grage Fill | 100 | CY
| Mass Grade Cut | 1000 | CY
| Subgrade Prep for Roadways PUE to PUE (5' Behind ROW Ea. Side) | 19982.57 | SQFT
| 8" Granular Base Course (UDOT Spec) | 7976.52 | SQFT
| 8" Untreated Base | 919.71 | SQFT
| 3" Asphalt (Pavement Section) | 8896 | SQFT
| Roadway Over excavation and Import (18" for 25%) | 506.52 | CY
| New 2.5-foot Curb and Gutter with Base Course | 564 | LNFT
| Replacement 2.5-foot Curb and Gutter with Base Course | 155 | LNFT
| Reverse Pan Curb | 4 | LNFT
| 6" Curb Wall | 159 | LNFT
| Transition to Reverse Pan Curb | 2 | EACH
| Interior 4' wide Sidewalk (5" thick) with Base Course | 906.407 | LNFT
| 5' Wide Sidewalk (5" thick) with Base Course | 904.635 | LNFT
| 6' Wide Sidewalk (5" thick) with Base Course | 1477.421 | LNFT
| Garbage Can Concrete Pad | 1256.22 | SQFT
| Subgrade Prep for Alleys ROW to ROW | 9610.74 | SQFT
| Lane 6" Granular Base Course ROW to ROW | 9610.74 | SQFT
| Lane 6" 4000 psi Concrete | 8664.93 | SQFT
| Private Lane Approach W/ Base Course | 3 | EACH
| Parking Lot Drive Approach W/ Base Course | 2 | EACH
| Sidewalk Handicap Ramps W/ Base Course | 2 | EACH
| Round Sidewalk Handicap Ramps W/ Base Course | 7 | EACH
| Demo Existing Curb & Gutter | 663.677 | LNFT
| Demo Existing Sidewalk | 122.13 | LNFT
| Sawcut & Demo Existing Asphalt | 11748.64 | SQFT
| Replace Asphalt (Northern Road) | 4370 | SQFT
| Replace Asphalt (West Parking Lot) | 909 | SQFT
| Replace Asphalt (Daybreak Rim Way) | 3360 | SQFT
| Landscape Removal | 530.38 | SQFT
02665 - DOMESTIC WATER SYSTEMS
| 6" C-900 Pipe | 187.549 | LNFT
| 6" 90 Deg Bend | 2
| 6" Fire Hydrant Auxilliary Valve | 1 | EACH
| Fire Hydrant Concrete Pad | 1 | EACH
| Relocate Fire Hydrant | 1 | EACH
| 3/4" Service Connections with 3/4" meters | 25 | EACH
| 1" Service Connection with 3/4" meter | 7 | EACH
| 6" Tie-in to existing Tee | 1 | EACH
| Abandon Water Stub | 1 | EACH
02667 - SECONDARY IRRIGATION SYSTEMS
| 3" HDPE DR-17 Irrigation Line | 387.016 | LNFT
| 3" 90 Deg Bend | 4 | EACH
| Remove, Salvage and Realign 3" Irrigation Pipe | 376.886 | LNFT
02721 - STORM DRAINAGE SYSTEMS
| 12" RCP CLIII Pipe | 148.777 | LNFT
| Catch Basin | 1 | EACH
| Combo Box | 1 | EACH
| Connect 12" Pipe to Existing Storm Gallery | 1 | EACH
| Remove and Dispose of 1100sf of Existing Storm Chamber | 1 | EACH
| Install Inspection Cover to Stormchamber | 1 | EACH
| Remove 10" Risers | 2 | EACH
| Abandon 18" SD line | 1 | EACH
| Abandon 18" SD Pipe and Inlets | 1 | EACH
02722 - SANITARY SEWER SYSTEMS
| 8" PVC Sewer Line | 632.601 | LNFT
| 4' Manhole | 1 | EACH
| 5' Manhole | 5 | EACH
| 4" Service Laterals (Housing Only) | 32 | EACH
| 4" Service Lateral Trench Import (25% of Trench in Roadway) | 608.7 | CY
| Connect 8" Pipe to Existing Manhole | 2 | EACH
| Abandon 8" Sewer Stub | 1 | EACH
| Sewer Import Fill (75% on a 5' wide trench) | 937.19 | CY
02813 - ELEC, SIGNS, STRIPES & EROSION CONTROL
Electrical/Dry Utilities (Estimated)
| Remove and Relocate Street Lights | 2 | EACH
| 2" Conduit (Along Street) | 750 | LNFT
| 6 Gauge Wire | 750 | LNFT
Joint Trench Crossings for Dry Utilites
| 4" Conduit | 2240
| 6" Conduit | 224
| 8" Conduit | 224
| Trenching For Dry Utilites | 224
Signage & Striping
| R1-1 Stop Sign | 1 | EACH
| R6-1-L One Way Left | 2 | EACH
| R6-1-R One Way Right | 2 | EACH
Striping
| Stop Bar Markings (Thermoplastic Tape) | 13.062 | LNFT
Erosion Control
| Stabilized Construction Entrance Maintenance | 1 | LPSM
| Temporary diversion ditch | 422.569 | LNFT
| 5000 CF Sedimentation basin | 1 | EACH
| Filter Sock Inlet Protection | 10 | EACH
02814 - MISCELLANEOUS
| Mobilization/Demobilization | 1 | EACH
| HSE Compliance | 1 | EACH
| Kennecott Land T&M Contingency | 1 | EACH
| Traffic Control | 1 | EACH
Grand Total
*This item is the additional cost above the base price to pour and cure concrete during cold weather.
-This amount will be subtracted from contract if not poured in cold weather.
**Work completed under each bid item shall be considered complete compensation for all labor, equipment, and materials necessary to construction the item per the governing agencies specifications and standard drawings. Work under this item may also include, but not limited to, mobilization, traffic control, excavation, saw cutting, coring, concrete casting, trenching, landscaping and other miscellaneous site work.